## production_parameters.891876
key | number_of_units | electricity_output_capacity (MW) | heat_output_capacity (MW) | full_load_hours | total_initial_investment_per_plant (Euros) | fixed_operation_and_maintenance_costs_per_year (Euros) | variable_operation_and_maintenance_costs_per_full_load_hour (Euros) | wacc (factor) | technical_lifetime (years) | total_investment_over_lifetime_per_node (Euros)
agriculture_burner_crude_oil | 38217119967601600 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 1146513599028040
agriculture_burner_hydrogen | 0.0 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 0.0
agriculture_burner_network_gas | 1174029925404720 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 35220897762141600
agriculture_burner_wood_pellets | 5503265275334630 | 0.0 | 5.0 | 2190.0 | 100333333333333 | 5000.0 | 0.0 | 0.025 | 15.0 | 5521609492919060
agriculture_geothermal | 3746369674538310 | 0.0 | 14.0 | 6000.0 | 26726000.0 | 1414000.0 | 26.6 | 0.025 | 30.0 | 10012547592171100
agriculture_heatpump_water_water_ts_electricity | 2756073014111950 | 0.0 | 5.0 | 971765172263585 | 2651428571428560 | 179776556868764 | 0.0 | 0.025 | 15.0 | 7307530734559680
buildings_cooling_airconditioning_electricity | 30459503042039300 | 0.0 | 0.0025 | 2240.0 | 1800.0 | 25.0 | 0.0 | 0.025 | 15.0 | 5482710547567080
buildings_cooling_collective_heatpump_water_water_ts_electricity | 23483526313970800 | 0.0 | 2.25 | 2190.0 | 762800.0 | 67530.0 | 0.0 | 0.025 | 15.0 | 17913233872296900
buildings_cooling_heatpump_air_water_electricity | 0.0 | 0.0 | 0.01 | 560.0 | 9098.0 | 100.0 | 0.0 | 0.025 | 15.0 | 0.0
buildings_cooling_heatpump_air_water_network_gas | 614.5975 | 0.0 | 2.25 | 4000.0 | 2479300.0 | 99296.24 | 0.0 | 0.025 | 15.0 | 1523771582.6508
buildings_heating_savings_from_insulation_useable_heat | 0 | 0.0 | 0.0 | 0.0 | 3804218115379260 |  |  |  | 40.0 | 0.0
buildings_lighting_savings_from_daylight_control_light | 0 | 0.0 | 0.0 | 0.0
buildings_lighting_savings_from_motion_detection_light | 0 | 0.0 | 0.0 | 0.0
buildings_solar_pv_solar_radiation | 428323348523139 | 0.0003520000000000001 | 0.0 | 867.0 | 2123375 | 4.62 | 0.0 | 0.025 | 25.0 | 9094910901703200
buildings_space_heater_coal | 0.0 | 0.0 | 0.133 | 1042.44 | 26600.0 | 798.0 | 0.0 | 0.025 | 15.0 | 0.0
buildings_space_heater_collective_heatpump_water_water_ts_electricity | 11687860937785500 | 0.0 | 2.25 | 4273717996009920 | 762800.0 | 67530.0 | 0.0 | 0.025 | 15.0 | 8915500323342820
buildings_space_heater_combined_hydrogen | 0.0 | 0.0 | 0.1 | 1500.0 | 8940000000000000 | 42000000000000000 | 0.0 | 0.025 | 12.5 | 0.0
buildings_space_heater_crude_oil | 0.0 | 0.0 | 0.142 | 981.12 | 18460.0 | 497.0 | 0.0 | 0.025 | 15.0 | 0.0
buildings_space_heater_district_heating_steam_hot_water | 7265151165825910 | 0.0 | 0.011 | 24999999999995500 | 0.0 | 0.0 | 0.0 | 0.025 | 30.0 | 0.0
buildings_space_heater_electricity | 0.0 | 0.0 | 0.081 | 1716.96 | 2025.0 | 0.0 | 0.0 | 0.025 | 15.0 | 0.0
buildings_space_heater_heatpump_air_water_electricity | 2489185182696 | 0.0 | 0.01 | 448714903796667 | 9098.0 | 100.0 | 0.0 | 0.025 | 15.0 | 2264660679216820
buildings_space_heater_heatpump_air_water_network_gas | 0.0 | 0.0 | 225141 | 4380.0 | 1929780.0 | 297861543 | 0.0 | 0.025 | 15.0 | 0.0
buildings_space_heater_network_gas | 13813947061951900 | 0.0 | 0.043 | 19999999999996400 | 2000.0 | 130.0 | 0.0 | 0.025 | 15.0 | 2762789412390390
buildings_space_heater_solar_thermal | 4217556567183080 | 0.0 | 0.175 | 791666666666667 | 144375.0 | 1837.5 | 0.0 | 0.025 | 20.0 | 6089097293870570
buildings_space_heater_wood_pellets | 8123441765298610 | 0.0 | 0.137 | 10161599999998200 | 34318.5 | 1644.0 | 0.0 | 0.025 | 15.0 | 2787843362224000
energy_battery_solar_electricity | 0 | 0.0 | 0.0
energy_battery_wind_electricity | 0 | 0.0 | 0.0
energy_chp_coal_gas | 0.5261121220624901 | 14821415840878300 | 977952658122468 | 635438233269404 | 169050000.0 | 1610000.0 | 328.7 | 0.04 | 30.0 | 8893925423466390
energy_chp_combined_cycle_network_gas | 15180797811164100 | 120014 | 10957799999999900 | 4375004637481000 | 115043478.26 | 1095652.17 | 328.7 | 0.025 | 30.0 | 17464517829581200
energy_chp_local_engine_biogas | 8364299030071100 | 2021 | 2209 | 8000.0 | 1200000.0 | 0.0 | 16.0 | 0.025 | 20.0 | 10037158836085300
energy_chp_local_engine_network_gas | 1167535582881100 | 2021 | 2209 | 26319665513364100 | 1200000.0 | 0.0 | 16.0 | 0.025 | 20.0 | 14010426994573200
energy_chp_local_wood_pellets | 7785467128027680 | 23119999999999900 | 6567999999999990 | 5124825726246930 | 83232000.0 | 1025811.28 | 0.0 | 0.025 | 25.0 | 6480000000.0
energy_chp_supercritical_ccs_waste_mix | 0.0 | 7649100000000000 | 42495 | 0.0 | 231000000.0 | 4800000.0 | 0.0 | 0.025 | 30.0 | 0.0
energy_chp_supercritical_waste_mix | 12104543787712000 | 59994 | 33.33 | 4485080871656380 | 162000000.0 | 4800000.0 | 0.0 | 0.025 | 30.0 | 19609360936093500
energy_chp_ultra_supercritical_coal | 0.0 | 600.0 | 225.0 | 0.0 | 1182605000.0 | 32278160.0 | 1530.43 | 0.025 | 40.0 | 0.0
energy_chp_ultra_supercritical_cofiring_coal | 0.030304584384280825 | 643467 | 26086499999999900 | 29397443299774400 | 1319134000.0 | 30887040.0 | 1544.35 | 0.025 | 40.0 | 399758076171739
energy_chp_ultra_supercritical_lignite | 0.0 | 700.0 | 300.0 | 0.0 | 1085000000.0 | 32480000.0 | 1540.0 | 0.025 | 30.0 | 0.0
energy_distribution_imported_heat | 0 | 0.0 | 0.0
energy_flexibility_flow_batteries_electricity | 0 | 190.0 | 0.0 | 0.0 | 1046000000.0 | 0.0 | 0.0 | 0.067 | 25.0 | 0.0
energy_flexibility_hv_opac_electricity | 0 | 1400.0 | 0.0 | 0.0 | 1785000000.0 | 19800000.0 | 0.0 | 0.067 | 50.0 | 0.0
energy_flexibility_mv_batteries_electricity | 9375 | 100.0 | 0.0 | 5724439539462480 | 56000000.0 | 560000.0 | 0.0 | 0.025 | 10.0 | 525000000.0
energy_flexibility_pumped_storage_electricity | 0 | 500.0 | 0.0 | 0.0 | 500000000.0 | 15000.0 | 5000.0 | 0.025 | 75.0 | 0.0
energy_flexibility_solar_batteries_electricity | 0 | 100.0 | 0.0 | 0.0 | 56000000.0 | 560000.0 | 0.0 | 0.025 | 10.0 | 0.0
energy_flexibility_wind_batteries_electricity | 0 | 100.0 | 0.0 | 0.0 | 56000000.0 | 560000.0 | 0.0 | 0.025 | 10.0 | 0.0
energy_heat_backup_burner_network_gas | 15622270539039700 | 0.0 | 5.0 | 20756973382362700 | 300000.0 | 10000.0 | 5.0 | 0.025 | 15.0 | 46866811617119296
energy_heat_burner_coal | 0.0 | 0.0 | 100.0 | 0.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_burner_crude_oil | 4.5475 | 0.0 | 100.0 | 232.5 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 272848410.5319
energy_heat_burner_hydrogen | 0.0 | 0.0 | 5.0 | 0.0 | 300000.0 | 10000.0 | 5.0 | 0.025 | 25.0 | 0.0
energy_heat_burner_network_gas | 48007771646662704 | 0.0 | 5.0 | 18025557646380600 | 300000.0 | 10000.0 | 5.0 | 0.025 | 25.0 | 1440233149399880
energy_heat_burner_waste_mix | 0.0 | 0.0 | 36.6 | 0.0 | 68808000.0 | 2976348.6 | 201.3 | 0.025 | 25.0 | 0.0
energy_heat_burner_wood_pellets | 2419149147868640 | 0.0 | 16.67 | 1020674763982080 | 8184970.0 | 433420.0 | 0.0 | 0.025 | 15.0 | 19800663200830400
energy_heat_flexibility_p2h_boiler_electricity | 30.0 | 0.0 | 50.0 | 8349253301296270 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 72000000.0
energy_heat_flexibility_p2h_heatpump_electricity | 0 | 0.0 | 1.0 | 0.0 | 500000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_heatpump_water_water_electricity | 61497134364957 | 0.0 | 1.0 | 3196143591753440 | 400000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 24598853745982800
energy_heat_industry_chemicals_fertilizers_residual_heat | 0.0 | 0.0 | 25.0 | 8760.0 | 6625000.0 | 132500.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_industry_chemicals_other_residual_heat | 0.0 | 0.0 | 25.0 | 8760.0 | 6625000.0 | 132500.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_industry_chemicals_refineries_residual_heat | 0.0 | 0.0 | 25.0 | 8760.0 | 6625000.0 | 132500.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_industry_other_ict_residual_heat | 0.0 | 0.0 | 25.0 | 8760.0 | 22100000.0 | 442000.0 | 0.0 | 0.025 | 15.0 | 0.0
energy_heat_solar_thermal | 0.0 | 0.0 | 23.3 | 683.7 | 9333333.3 | 685151.5 | 0.0 | 0.025 | 25.0 | 0.0
energy_heat_well_geothermal | 0.0 | 0.0 | 14.0 | 6000.0 | 26726000.0 | 1414000.0 | 26.6 | 0.025 | 30.0 | 0.0
energy_hydrogen_biomass_gasification | 0.0 | 0.0 | 0.0 | 7884.0 | 144005991803279 | 875865209471767 | 111094014392664 | 0.067 | 40.0 | 0.0
energy_hydrogen_biomass_gasification_ccs | 0.0 | 0.0 | 0.0 | 7884.0 | 23212580510018200 | 121402103825137 | 111094014392664 | 0.067 | 40.0 | 0.0
energy_hydrogen_electrolysis_solar_electricity | 0.0 | 0.0 | 0.0 | 1867455406 | 3500000.0 | 126000.0 | 0.0 | 0.067 | 25.0 | 0.0
energy_hydrogen_electrolysis_wind_electricity | 350.0 | 0.0 | 0.0 | 4151710123559350 | 3500000.0 | 126000.0 | 0.0 | 0.067 | 25.0 | 1225000000.0
energy_hydrogen_flexibility_p2g_electricity | 500.0 | 0.0 | 0.0 | 15669048754618800 | 3500000.0 | 126000.0 | 0.0 | 0.067 | 25.0 | 1750000000.0
energy_hydrogen_solar_pv_solar_radiation | 0.0 | 2588235294117640 | 0.0 | 867.0 | 6097000.0 | 318000.0 | 0.0 | 0.025 | 25.0 | 0.0
energy_hydrogen_steam_methane_reformer | 0.0 | 0.0 | 0.0 | 7500.0 | 222000000.0 | 9000000.0 | 0.0 | 0.025 | 25.0 | 0.0
energy_hydrogen_steam_methane_reformer_ccs | 0.0 | 0.0 | 0.0 | 7500.0 | 296814000.0 | 9000000.0 | 0.0 | 0.067 | 25.0 | 0.0
energy_hydrogen_wind_turbine_offshore | 11666666666666600 | 3.0 | 0.0 | 4300.0 | 2458575.0 | 9006540597603670 | 0.0 | 0.025 | 20.0 | 2868337500.0
energy_interconnector_1_imported_electricity | 1.0 | 700.0 | 0.0 | 411974649810162 |  |  | 0.0
energy_interconnector_2_imported_electricity | 1.0 | 0.0 | 0.0 | 0.0 |  |  | 0.0
energy_interconnector_3_imported_electricity | 1.0 | 0.0 | 0.0 | 0.0 |  |  | 0.0
energy_interconnector_4_imported_electricity | 1.0 | 0.0 | 0.0 | 0.0 |  |  | 0.0
energy_interconnector_5_imported_electricity | 1.0 | 0.0 | 0.0 | 0.0 |  |  | 0.0
energy_interconnector_6_imported_electricity | 1.0 | 0.0 | 0.0 | 0.0 |  |  | 0.0
energy_power_combined_cycle_ccs_coal | 0.0 | 658.0 | 0.0 | 0.0 | 15734491379645100 | 213734426229508 | 801247999672602 | 0.067 | 30.0 | 0.0
energy_power_combined_cycle_ccs_network_gas | 0.0 | 665.0 | 0.0 | 0.0 | 6500184610019110 | 130635555555556 | 51472213331828 | 0.067 | 30.0 | 0.0
energy_power_combined_cycle_coal | 0.0 | 800.0 | 0.0 | 0.0 | 1542475240.0 | 16000000.0 | 801247999672602 | 0.025 | 30.0 | 0.0
energy_power_combined_cycle_coal_gas | 0.4843624455851719 | 835.0 | 0.0 | 2188.0 | 626250000.0 | 8350000.0 | 2087.5 | 0.04 | 30.0 | 3033319815477130
energy_power_combined_cycle_hydrogen | 0.0 | 800.0 | 0.0 | 0.0 | 599540000.0 | 906666666666667 | 1287.0 | 0.067 | 30.0 | 0.0
energy_power_combined_cycle_network_gas | 8.4 | 800.0 | 0.0 | 11181201545833900 | 599540000.0 | 906666666666667 | 1287.0 | 0.025 | 30.0 | 5036136000.0
energy_power_engine_diesel | 0.0 | 2.0 | 0.0 | 0.0 | 400000.0 | 0.0 | 15.7 | 0.025 | 30.0 | 0.0
energy_power_engine_network_gas | 0.0 | 400.0 | 0.0 | 0.0 | 260000000.0 | 2400000.0 | 800.0 | 0.025 | 25.0 | 0.0
energy_power_geothermal | 0.0 | 12.0 | 0.0 | 8000.0 | 155084745.8 | 2400000.0 | 0.0 | 0.025 | 30.0 | 0.0
energy_power_hv_network_electricity | 15946067654366600 | 800.0 | 0.0 | 8760.0 | 0.0 | 47926596.97 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_hydro_mountain | 0.0 | 500.0 | 0.0 | 0.0 | 618099845753424 | 541584584383562 | 124604483013699 | 0.025 | 50.0 | 0.0
energy_power_hydro_river | 4.4 | 10.0 | 0.0 | 2515.0 | 36000000.0 | 320000.0 | 0.0 | 0.025 | 45.0 | 158400000.0
energy_power_lv_network_electricity | 8335165382492240 | 0.64 | 0.0 | 8760.0 | 0.0 | 1999279402 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_mv_distribution_network_electricity | 58778053297732 | 2.1 | 0.0 | 8760.0 | 0.0 | 7789192549 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_mv_transport_network_electricity | 6169836012413250 | 16.9 | 0.0 | 8760.0 | 0.0 | 8688446792 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_nuclear_gen2_uranium_oxide | 0.30886363636363634 | 1650.0 | 0.0 | 5674393461728530 | 3200000000.0 | 42048000.0 | 6400.0 | 0.067 | 50.0 | 9883636363636360
energy_power_nuclear_gen3_uranium_oxide | 0.0 | 1650.0 | 0.0 | 0.0 | 4950000000.0 | 809015947712419 | 6288.0 | 0.067 | 60.0 | 0.0
energy_power_solar_csp_solar_radiation | 0.0 | 50.0 | 0.0 | 867.0 | 175000000.0 | 400000.0 | 50.0 | 0.025 | 30.0 | 0.0
energy_power_solar_pv_offshore | 0.0 | 9705882352941170 | 0.0 | 867.0 | 157500000.0 | 6700000.0 | 0.0 | 0.025 | 20.0 | 0.0
energy_power_solar_pv_solar_radiation | 5795454545454540 | 2588235294117640 | 0.0 | 867.0 | 6097000.0 | 318000.0 | 0.0 | 0.025 | 25.0 | 3533488636363630
energy_power_supercritical_ccs_waste_mix | 0.0 | 55.56 | 0.0 | 0.0 | 313914000.0 | 0.0 | 6499964399999990 | 0.025 | 20.0 | 0.0
energy_power_supercritical_coal | 0.0 | 800.0 | 0.0 | 0.0 | 790000000.0 | 19414400.0 | 1580.0 | 0.025 | 45.0 | 0.0
energy_power_supercritical_waste_mix | 0.0 | 55.56 | 0.0 | 0.0 | 250020000.0 | 0.0 | 65.0 | 0.025 | 20.0 | 0.0
energy_power_transformer_lv_mv_electricity | 1481807179109730 | 0.36 | 0.0 | 8760.0 | 0.0 | 1999279402 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_transformer_mv_hv_electricity | 2369777922949630 | 44.0 | 0.0 | 8760.0 | 0.0 | 3212038165 | 0.0 | 0.018000000000000002 | 40.0 | 0.0
energy_power_turbine_hydrogen | 9333333333333330 | 150.0 | 0.0 | 4025676171354620 | 80388228.75 | 927202.5 | 41646845625 | 0.067 | 50.0 | 750290135.0
energy_power_turbine_network_gas | 26666666666666600 | 150.0 | 0.0 | 6472179795198910 | 80388228.75 | 927202.5 | 41646845625 | 0.025 | 50.0 | 2143686100.0
energy_power_ultra_supercritical_ccs_coal | 0.0 | 637.0 | 0.0 | 0.0 | 13513385833494000 | 158727868852459 | 138249955528184 | 0.067 | 40.0 | 0.0
energy_power_ultra_supercritical_coal | 0.0 | 800.0 | 0.0 | 0.0 | 1120000000.0 | 16000000.0 | 138249955528184 | 0.025 | 40.0 | 0.0
energy_power_ultra_supercritical_cofiring_coal | 0.0 | 730434782608696 | 0.0 | 0.0 | 1278260870.0 | 16000000.0 | 138249955528184 | 0.025 | 40.0 | 0.0
energy_power_ultra_supercritical_crude_oil | 0.0 | 800.0 | 0.0 | 0.0 | 392000000.0 | 150596223692314 | 0.0 | 0.025 | 30.0 | 0.0
energy_power_ultra_supercritical_lignite | 0.0 | 800.0 | 0.0 | 0.0 | 1027000000.0 | 19607800.0 | 2370.0 | 0.025 | 30.0 | 0.0
energy_power_ultra_supercritical_network_gas | 6875 | 800.0 | 0.0 | 14258575231870800 | 316800000.0 | 1365600.0 | 1584.0 | 0.025 | 30.0 | 2178000000.0
energy_power_ultra_supercritical_oxyfuel_ccs_lignite | 0.0 | 660.0 | 0.0 | 0.0 | 2060160000.0 | 219061850913642 | 2406.4 | 0.025 | 30.0 | 0.0
energy_power_wind_turbine_coastal | 3333333333333330 | 3.0 | 0.0 | 3237.0 | 1962702375 | 69362553 | 0.0 | 0.025 | 25.0 | 654234125.0
energy_power_wind_turbine_inland | 29333333333333300 | 3.0 | 0.0 | 3237.0 | 1962702375 | 69362553 | 0.0 | 0.025 | 25.0 | 5757260300.0
energy_power_wind_turbine_offshore | 4233333333333330 | 3.0 | 0.0 | 4300.0 | 2458575.0 | 9006540597603670 | 0.0 | 0.025 | 20.0 | 10407967500.0
energy_transport_hydrogen_compressed_trucks | 6074018889045750 | 0.0 | 0.0 | 8760.0 | 8822727726894250 | 7877435470441290 | 0.0 | 0.067 | 15.0 | 5358941486606340
energy_transport_hydrogen_pipelines | 0.8017502471356774 | 0.0 | 0.0 | 8760.0 | 64400000.0 | 16200000.0 | 0.0 | 0.067 | 30.0 | 51632715915537600
households_cooling_airconditioning_electricity | 9137490770298410 | 0.0 | 0.0025 | 560.0 | 1800.0 | 25.0 | 0.0 | 0.011000000000000001 | 15.0 | 16447483386537100
households_cooling_heatpump_air_water_electricity | 525453.5164 | 0.0 | 0.01 | 560.0 | 7278.4 | 100.0 | 0.0 | 0.011000000000000001 | 15.0 | 38244608735.8762
households_cooling_heatpump_ground_water_electricity | 24213727818626600 | 0.0 | 0.01 | 560.0 | 11123.2 | 100.0 | 0.0 | 0.011000000000000001 | 15.0 | 26933413727214700
households_final_demand_hydrogen | 0 | 0.0 | 0.0
households_flexibility_p2p_electricity | 4287108247422680 | 0.005 | 0.0 | 5626478676559390 | 11373.6 | 0.0 | 0.0 | 0.011000000000000001 | 10.0 | 487598543628866
households_solar_pv_solar_radiation | 4021715508929660 | 0.000352 | 0.0 | 867.0 | 21233679999999900 | 4.62 | 0.0 | 0.011000000000000001 | 25.0 | 8539582016764970
households_solar_pvt_solar_radiation | 0.0 | 0.000894 | 0.0003333333333333333 | 867.0 | 498.0 | 0.0 | 0.0 | 0.011000000000000001 | 25.0 | 0.0
households_space_heater_coal | 0.0 | 0.0 | 0.0099 | 0.0 | 1980.0 | 59.4 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_space_heater_combined_hydrogen | 0.0 | 0.0 | 0.022 | 0.0 | 20758450000000000 | 9652679250000000 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_space_heater_combined_network_gas | 30084914435110000 | 0.0 | 0.022 | 3992457516352980 | 2134.39 | 98.0 | 0.0 | 0.011000000000000001 | 15.0 | 6421294052115440
households_space_heater_crude_oil | 0.0 | 0.0 | 0.0105 | 0.0 | 2100.0 | 63.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_space_heater_district_heating_steam_hot_water | 1352561.0 | 0.0 | 0.01 | 8783406535976570 | 0.0 | 0.0 | 0.0 | 0.011000000000000001 | 30.0 | 0.0
households_space_heater_electricity | 168020.0 | 0.0 | 0.006 | 1463901089329420 | 300.0 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 50406000.0
households_space_heater_heatpump_air_water_electricity | 777870373793 | 0.0 | 0.01 | 8783406535976570 | 7278.4 | 100.0 | 0.0 | 0.011000000000000001 | 15.0 | 5661651728614970
households_space_heater_heatpump_ground_water_electricity | 700083330533 | 0.0 | 0.01 | 8783406535976570 | 11123.2 | 100.0 | 0.0 | 0.011000000000000001 | 15.0 | 7787166902184660
households_space_heater_heatpump_pvt_electricity | 0.0 | 0.0 | 0.0078 | 0.0 | 12419.0 | 100.0 | 0.0 | 0.011000000000000001 | 18.0 | 0.0
households_space_heater_hybrid_heatpump_air_water_electricity | 1789101852163 | 0.0 | 0.004900000000000001 | 17925319461176600 | 3055.2 | 200.0 | 0.0 | 0.011000000000000001 | 15.0 | 5466063978728390
households_space_heater_hybrid_hydrogen_heatpump_air_water_electricity | 0.0 | 0.0 | 0.0049 | 0.0 | 5400.0 | 200.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_space_heater_network_gas | 18482200000000000 | 0.0 | 0.022 | 3992457516352980 | 1300.0 | 85.0 | 0.0 | 0.011000000000000001 | 15.0 | 24026860000000000
households_space_heater_wood_pellets | 420050.0 | 0.0 | 0.0101 | 8696442114828290 | 3030.0 | 161.6 | 0.0 | 0.011000000000000001 | 15.0 | 1272751500.0
households_space_heating_savings_from_insulation | 0 | 0.0 | 0.0 | 0.0 | 21112228753068700 |  |  |  | 40.0 | 0.0
households_water_heater_coal | 0.0 | 0.0 | 0.0099 | 0.0 | 1980.0 | 59.4 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_combined_hydrogen | 0.0 | 0.0 | 0.022 | 0.0 | 0.0 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_combined_network_gas | 3008491443511 | 0.0 | 0.022 | 7332279249027170 | 0.0 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_crude_oil | 0.0 | 0.0 | 0.0105 | 0.0 | 2100.0 | 63.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_heatpump_air_water_electricity | 777870373793 | 0.0 | 0.01 | 16131014347859700 | 25356875 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 19724361834472300
households_water_heater_heatpump_ground_water_electricity | 700083330533 | 0.0 | 0.01 | 16131014347859700 | 25356875 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 17751925501908900
households_water_heater_heatpump_pvt_electricity | 0.0 | 0.0 | 0.0078 | 0.0 | 25356874530428200 | 0.0 | 0.0 | 0.011000000000000001 | 18.0 | 0.0
households_water_heater_hybrid_heatpump_air_water_electricity | 1789101852163 | 0.0 | 0.0049 | 3292043744461180 | 0.0 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_hybrid_hydrogen_heatpump_air_water_electricity | 0.0 | 0.0 | 0.0049 | 0.0 | 0.0 | 0.0 | 0.0 | 0.011000000000000001 | 15.0 | 0.0
households_water_heater_network_gas | 18482200000000000 | 0.0 | 0.024 | 6721255978274910 | 484.0 | 30.0 | 0.0 | 0.011000000000000001 | 15.0 | 8945384800000030
households_water_heater_resistive_electricity | 168020.0 | 0.0 | 0.0015 | 10754009565239800 | 135.0 | 3.0 | 0.0 | 0.011000000000000001 | 15.0 | 22682700.0
households_water_heater_solar_thermal | 3135145206162200 | 0.0 | 0.0014 | 791666666666667 | 1155.0 | 14.7 | 0.0 | 0.011000000000000001 | 20.0 | 3621092713117340
households_water_heater_wood_pellets | 420050.0 | 0.0 | 0.0101 | 15971301334514600 | 3030.0 | 214010810810811 | 0.0 | 0.011000000000000001 | 15.0 | 1272751500.0
industry_aluminium_burner_network_gas | 0.3426027397260256 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 20556164383561500
industry_chemicals_fertilizers_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_fertilizers_burner_crude_oil | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_fertilizers_burner_hydrogen | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_fertilizers_burner_network_gas | 25704824446999000 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 1542289466819940
industry_chemicals_fertilizers_burner_wood_pellets | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_burner_crude_oil | 9829285523865520 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 5897571314319310
industry_chemicals_other_burner_hydrogen | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_burner_network_gas | 278409983985067 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 1670459903910400
industry_chemicals_other_burner_wood_pellets | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_flexibility_p2h_hydrogen_electricity | 0.0 | 0.0 | 50.0 | 0.0 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_flexibility_p2h_network_gas_electricity | 25.0 | 0.0 | 50.0 | 21378189247701300 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 60000000.0
industry_chemicals_other_heater_electricity | 0.0 | 0.0 | 50.0 | 2190.0 | 3000000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_chemicals_other_heatpump_water_water_electricity | 8244402641618340 | 0.0 | 5.0 | 7000.0 | 1250000.0 | 27500.0 | 0.0 | 0.025 | 15.0 | 10305503302022900
industry_chemicals_other_steam_recompression_electricity | 8368738180297040 | 0.0 | 43.1 | 8000.0 | 5698000.0 | 228800.0 | 0.0 | 0.025 | 15.0 | 47685070151332496
industry_chemicals_refineries_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_refineries_burner_crude_oil | 10392692011338300 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 6235615206803010
industry_chemicals_refineries_burner_hydrogen | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_refineries_burner_network_gas | 4031291281371470 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 2418774768822880
industry_chemicals_refineries_burner_wood_pellets | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_chemicals_refineries_flexibility_p2h_hydrogen_electricity | 0 | 0.0 | 50.0 | 0.0 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_chemicals_refineries_flexibility_p2h_network_gas_electricity | 0 | 0.0 | 50.0 | 0.0 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_chp_combined_cycle_gas_power_fuelmix | 4535604282374680 | 120014 | 10957799999999900 | 36608081157638200 | 115043478.26 | 1095652.17 | 328.7 | 0.025 | 30.0 | 5217916926553350
industry_chp_engine_gas_power_fuelmix | 58399561975514896 | 1008 | 1152 | 2154794019485710 | 600000.0 | 0.0 | 8.0 | 0.025 | 20.0 | 3503973718530890
industry_chp_turbine_gas_power_fuelmix | 14448361620504300 | 44992000000000000 | 49728 | 3099933023359390 | 38250000.0 | 315000.0 | 157.5 | 0.025 | 25.0 | 552649831984292
industry_chp_ultra_supercritical_coal | 0.0003765578079456654 | 600.0 | 225.0 | 2936700000000100 | 840000000.0 | 25600000.0 | 2844.44 | 0.025 | 40.0 | 31630855867435800
industry_chp_wood_pellets | 0.0 | 17649540000000000 | 528221 | 0.0 | 617750000.0 | 5206750.0 | 194.15 | 0.025 | 25.0 | 0.0
industry_heat_backup_burner_network_gas | 4655691945598740 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 2793415167359240
industry_heat_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_heat_burner_crude_oil | 29084785047886300 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 1745087102873170
industry_heat_burner_lignite | 0.0 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_heat_well_geothermal | 14624817011719200 | 0.0 | 30.0 | 7000.0 | 75270000.0 | 3210000.0 | 228.0 | 0.025 | 30.0 | 11008099764721000
industry_other_food_burner_coal | 0.998604962718288 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 20038672918547000
industry_other_food_burner_crude_oil | 0.2282123212883978 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 13692739277303800
industry_other_food_burner_hydrogen | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_other_food_burner_network_gas | 2770662851956940 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 16623977111741600
industry_other_food_burner_wood_pellets | 3431410252843050 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 6885696574038410
industry_other_food_flexibility_p2h_hydrogen_electricity | 0.0 | 0.0 | 50.0 | 0.0 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_other_food_flexibility_p2h_network_gas_electricity | 6.0 | 0.0 | 50.0 | 2655348058620190 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 14400000.0
industry_other_food_heater_electricity | 49564814748037904 | 0.0 | 50.0 | 2190.0 | 3000000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 14869444424411300
industry_other_metals_burner_network_gas | 26394235767654800 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 158365414605929
industry_other_paper_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_other_paper_burner_crude_oil | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_other_paper_burner_hydrogen | 0.0 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
industry_other_paper_burner_network_gas | 4737203503025790 | 0.0 | 100.0 | 2190.0 | 6000000.0 | 100000.0 | 0.0 | 0.025 | 15.0 | 2842322101815470
industry_other_paper_burner_wood_pellets | 0.8251490839956657 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 16557991618846300
industry_other_paper_flexibility_p2h_hydrogen_electricity | 0.0 | 0.0 | 50.0 | 0.0 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 0.0
industry_other_paper_flexibility_p2h_network_gas_electricity | 2.0 | 0.0 | 50.0 | 26553166452868200 | 2400000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 4800000.0
industry_other_paper_heater_electricity | 13446873947963900 | 0.0 | 50.0 | 2190.0 | 3000000.0 | 50000.0 | 25.0 | 0.025 | 15.0 | 40340621843891904
other_burner_coal | 0.0 | 0.0 | 100.0 | 2190.0 | 200666666666667 | 100000.0 | 0.0 | 0.025 | 15.0 | 0.0
other_burner_crude_oil | 573186814480064 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 17195604434401900
other_burner_network_gas | 4006164383561640 | 0.0 | 5.0 | 2190.0 | 300000.0 | 5000.0 | 0.0 | 0.025 | 15.0 | 12018493150684900
other_burner_wood_pellets | 1024642941204160 | 0.0 | 5.0 | 2190.0 | 100333333333333 | 5000.0 | 0.0 | 0.025 | 15.0 | 10280584176748300
transport_car_using_electricity | 2353829485 | 0.0037 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.025 | 13.0 | 0.0
transport_car_using_hydrogen | 79790.83 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.067 | 13.0 | 0.0